## Slide 1: Hello! We’re Team 7
K. Sai Anand Vardhan - 18501A0125
R. Swapna - 18501A0146
Poojith Tatineni - 18501A0144
K. Chandrasekhar - 18501A0123
L. Srinivasa Rao - 18501A0127

## Slide 2: DESIGN AND ANALYSIS OF G+3 COMMERCIAL BUILDING

## Slide 3: Intent
Draft the layout of the proposed commercial building using AutoCAD.
Design the structure using STAAD Pro V8i.
Analysis include footing, columns, beams, slabs, staircase.

## Slide 5: Structure Specifications

## Slide 6
Type of Structure : Multi-Storeyed Rigid Jointed Frame
No. Storeys : 4 – G+3
Floor to Floor Height : 3.1m
External Walls : 230 mm
Internal Walls : 150 mm
Bearing Capacity of Soil : 200N/mm2
G+3 DATA

## Slide 7
Plan

## Slide 8
Elevation

## Slide 9
Centre Line Diagram

## Slide 10
Total area of the building = 264.3 m2
Office 1 = 16.25 m2
Office 2 = 16.25 m2
Conference Hall = 34.21 m2
Work Space = 34.21 m2
Cafeteria = 16.1 m2
Kitchen = 17 m2
Hall = 16.8 m2
Store Room = 16.42 m2
Corridor = 54.74 m2
Reception = 12.52 m2
Washrooms = 10.16 m2
Balcony = 14.3 m2
Froye = 5.34 m2

## Slide 11
Skeletal Structure

## Slide 12
PLACING NODES
CONNECTING BEAMS
TRANSLATIONAL REPEAT
ASSIGNING SUPPORTS
ASSIGNING PROPERTIES AND MATERIAL
APPLYING LOADS
ANALYZING
Procedure to Create a Project in Staad

## Slide 13
Rectangular Section
Size of BEAM : 0.45m x 0.23m
Size of Column : 0.6m x 0.3m
Thickness of Slab : 0.18m
Material : Concrete
Component Properties

## Slide 15
Loads

## Slide 17
Parameters such as strength of concrete, yield strength, clear cover etc.
Assigned using codes IS456.
Concrete M20 Grade
Steel Reinforcement Fe415
Unit Weight of Concrete = 25 kN/m^3
Unit Weight of Masonry = 20 kN/m^3
Asssigning Parameters

## Slide 18: POST PROCESSING

## Slide 19
PLATE
STRESS
BEAM DISPLACEMENT
BMD
SFD

## Slide 20
Stress Behaviour

## Slide 21
Components

## Slide 22
Foundation

## Slide 23
ISOLATED FOOTING

## Slide 25: CONCLUSION

## Slide 26
Planning, analysis and design of g+3 commercial building was done.
It's the g+3 building with parking in the basement.
The analysis and design were done according standard specifications using staadpro.
Deflection and shear tests are checked for beams, columns and slabs.
The tests proved to be safe.

## Slide 27: Thank You!
Any questions?